## Slide 1: NAVSEA 05Z3 Electrical Systems Technical Update
Presented at the National Shipbuilding Research Program
Electrical Technologies Panel Meeting
15 December 2023
Christopher Nemarich
Engineering Manager
Electrical Systems, Protection, Safety, Distribution, Lighting and Instrumentation – Ships
SEA 05Z33
NAVAL SEA SYSTEMS COMMAND
DISTRIBUTION STATEMENT A. Approved for public release. Distribution is unlimited.

## Slide 2
NAVSEA 05Z3 Priorities
Summary of Standards and Specifications Projects
NSRP Electrical Technologies Supported Projects
NAVSEA 05Z Update to NSRP
DISTRIBUTION STATEMENT A. Approved for public release. Distribution is unlimited.

## Slide 3
NAVSEA 05Z High Priority Items
SEA 05Z is working on the updated fire protection and qualification test requirements details for Qualification of Cable Sealants to MIL-I-3064 and Multi-Cable Transits to MIL-DTL-24705.
Reviewing test plans for qualification approval of NSRP sponsored MCTs and Cable Sealing Systems.
FUNDED! DOD-HDBK-289 LIGHTING ON NAVAL SHIPS 26 November 1986
NAVSEA 05Z Update to NSRP
DISTRIBUTION STATEMENT A. Approved for public release. Distribution is unlimited.

## Slide 4
Multi Cable Transits, Cable Sealants, Stuffing Tubes
MIL-DTL-24705B and Slants 1 3 4 Penetrators Multiple Cable Electric Cable (MCTs)
Project started to update all Fire Safety Tests per MIL-STD-3020.
Shock testing prior to Fire Resistance Test for QPL products will be required.
Tailoring MIL-STD-3020 vibration and shock bulkhead and deck frame tests. Objective is to reduce the deck and bulkhead section sizes for vibration and shock testing. Reduce the number of deck and bulkhead sections required in MIL-STD-3020 to ONE each.
Working with NSWC CD to finalize and provide detailed updates – January 2024.
MIL- I-3064 Insulation Electrical Plastic Sealer
Shock testing prior to Fire Resistance Test for QPL products will be required.
Tailoring MIL-STD-3020 vibration and shock bulkhead and deck frame tests.
Working with NSWC CD to finalize and provide detailed updates – January 2024.
MIL-S-24235C Stuffing Tubes, Metal, and Packing Assemblies for Electric Cables, General Specification - 19 slant sheets for
Specification has been template, updating cancelled references and all data tables to remove errors. Cleaning up figures work is complete.
Review for SRB in process.
NAVSEA 05Z Update to NSRP
DISTRIBUTION STATEMENT A. Approved for public release. Distribution is unlimited.

## Slide 5: MIL SPECS STANDARDS DRAWINGS
Standard for Electrical Enclosures Update
MIL-STD-108 Definitions Basic Requirements Enclosures for Electric and Electronic Equipment
  Last updated in 1985 but no significant changes since 1966
  Updated all references e.g. IEC 60947-1
  Aligned with MIL-DTL-2036
  Added reference to Composite Enclosures Drawing
  Included a cross-reference table for enclosure rating definitions comparison to IP and NEMA
  Final SRB were adjudicated.
  Publication is expected in late January 2024.
DISTRIBUTION STATEMENT A. Approved for public release. Distribution is unlimited.

## Slide 6: MIL SPECS STANDARDS DRAWINGS
Electrical Cables Assemblies Connectors
  MIL-DTL-24643 and 80 Slant Sheets Cables Low Smoke
  APPROVED FOR PUBLICATION
  MIL-DTL-24640 Cables Lightweight Low Smoke
    Review in progress
  MIL-HDBK-299 Electrical Cable Comparison Handbook –October 1991
  Cable Data Pertaining to Electric Shipboard Cable
  Include cables new to MIL-DTL- 24643 and MIL-DTL-24640 and other new cables introduced after 1991
  MV cables (rated 5 KV and 15 KV) to be included in addition to LV rated cables (<1KV)
  NEMA Cable manufacturers added to the SRB reviewer list
  Updated cable ampacity and bend radius data tables
  Added updated information for each cable type.
  NSRP SHIP YARDS and NAVY end users and designers are encouraged for SRB review.
  SRB review to begin in January 2024.
DISTRIBUTION STATEMENT A. Approved for public release. Distribution is unlimited.

## Slide 7: MIL SPECS STANDARDS DRAWINGS
Lighting
    16377/60B Incandescent Floodlights 150W Sym 316 & 317 25-Jan-2022
    Develop detailed requirements for dimmable SSL floodlights compatible with existing shipboard lighting distribution architecture. Address topside night time operation minimum illumination requirements.
    16377/61A Incandescd & SSLFloodlights 300W Sym 303.2 303.3 303.4 303.2SSL 303.3SSL 303.4SSL 02-Nov-2021 – Action needed to add electrical ground check test for Type III (SSL) fixture.
    16377/86B Lamp SSL for use as Replacement for Commercial Fluorescent Lamp Published 02-Nov-2021 – Action needed to address electrical safety tests needed for LED replacement tubes.
DISTRIBUTION STATEMENT A. Approved for public release. Distribution is unlimited.

## Slide 8: NSRP Electrical Technology Panel Projects
  05Z3 NSRP Supported Projects – Highest Priorities / Greatness Needs
  DTS Distributed Temperature Sensing for MV Switchboard Monitoring
  Cable penetration sealant test and qualification to new MIL-I-3064
  Multi-Cable Transit test and qualification to new MIL-DTL-24705
  Shore Power Cable Connector Test Set
DISTRIBUTION STATEMENT A. Approved for public release. Distribution is unlimited.

## Slide 9: NSRP Electrical Technology Panel Projects
DISTRIBUTION STATEMENT A. Approved for public release. Distribution is unlimited.
  Questions?